## Fixture schedule
Innerscene sample project: lighting fixture schedule
Tag | Room | Fixture | Size (mm) | Qty | Watts each | Lumens each | Total W | Total lm | lm/W
A | Open office | Circadian Sky CS24 | 1200 x 600 | 12 | 75 | 6831 | 900 | 81972 | 91.1
B | Meeting room | Circadian Sky CS22 | 600 x 600 | 4 | 45 | 2762 | 180 | 11048 | 61.4
C | Corridor | Circadian Sky CS14 | 1200 x 300 | 6 | 45 | 2965 | 270 | 17790 | 65.9
D | Reception | Virtual Sun A7 | 940 x 480 | 1 | 120 | 4364 | 120 | 4364 | 36.4
E | Break room | Circadian Sky CS12 | 600 x 300 | 3 | 35 | 1861 | 105 | 5583 | 53.2
F | Patient room | Circadian Sky CS44 | 1200 x 1200 | 2 | 130 | 10307 | 260 | 20614 | 79.3
| Total |  |  | 28 |  |  | 1835 | 141371 | 77

## Daylight curve
Hour | CCT (K) | Melanopic EDI (lx)
6:00 | 2500 | 0
7:00 | 3561 | 267
8:00 | 4459 | 521
9:00 | 5194 | 748
10:00 | 5765 | 938
11:00 | 6173 | 1081
12:00 | 6418 | 1170
13:00 | 6500 | 1200
14:00 | 6418 | 1170
15:00 | 6173 | 1081
16:00 | 5765 | 938
17:00 | 5194 | 748
18:00 | 4459 | 521
19:00 | 3561 | 267
20:00 | 2500 | 0